## ReadME
NOTES
1 | Release rates are in standard cubic feet per hour (scfh)
2 | Gas composition is approximately 91% methane ; Flow rates are given in whole gas flow rate
3 | All times are in local Pacific Standard Time
4 | Release data for each day is given in a separate tab
5 | Example Table data
| Measurement Time Block | Round Number | Source 1 | Source 2 | Source 3 | Temperature | Measurement Teams
| Measurement Time Block |  | Approximate time interval for measurement in that particular round
| Round Number |  | Round number for each day
| Source 1 - 3 |  | Source location (see image below)
| Temperature |  | Gas temperature at the location of the flow meters in degrees Farenheit
| Measurement Teams |  | Teams measuring in a particular round
|  | B | Ball Aerospace
|  | C | University of Calgary Truck
|  | Drone | University of Calgary Drone
6 | Cell shading guidelines
|  | Green | Leak correctly identified
|  | Red | Incorrect leak identification (either false positive or false negative)

## Day1_5_21
SINGLE LEAK BINARY DETECTION: YES/NO 10 MIN/LEAK
Measurement Time Block | Round Number | Source 1 | Source 2 | Source 3 | Temperature | Measurement Teams | Location
[11 empty] | 1 | scfh | 19.5 | g/h
8:32 am - 8:42 am | 1 | 75 | 0 | 0 | 64 | B/C | Wrong location | [5 empty] | 0.0054167 | g/s
8:48 am - 8:58 am | 2 | 0 | 160 | 0 | 65 | B/C |  | Quantification for day 1 (this team quantified all leaks)
9:03 am - 9:13 am | 3 | 0 | 0 | 118 | 70 | B/C |  | Actual | Measured | Measured
9:18 am - 9:28 am | 4 | 0 | 288 | 0 | 69 | B/C |  |  | g/s | scfh
9:33 am - 9:43 am | 5 | 0 | 0 | 0 |  | B/C |  | 75 | 0.51 | 94.1538
9:48 am - 9:58 am | 6 | 0 | 390 | 0 | 75 | B/C | Wrong location | 160 | 0.54 | 99.6923
10:03 am - 10:13 am | 7 | 0 | 0 | 65 | 75 | B/C |  | 288 | 0.21 | 38.7692
10:18 am - 10:28 am | 8 | 140 | 0 | 0 | 71 | B/C |  | 0 | 0 | 0
10:33 am - 10:43 am | 9 | 0 | 0 | 285 | 76 | B |  | 390 | 0.5 | 92.3077
10:48 am - 10:58 am | 10 | 0 | 155 | 0 | 73 | B/C |  | 65 | 0.45 | 83.0769
11:03 am - 11:13 am | 11 | 420 | 0 | 0 | 78 | B/C |  | 140 | 0.11 | 20.3077
11:18 am - 11:28 am | 12 | 0 | 72 | 0 | 76 | B/C |  | 155 | 0.28 | 51.6923
[8 empty] | 420 | 0.29 | 53.5385
2:51 pm - 3:01 pm | 13 | 0 | 125 | 0 | 84 | C |  | 72 | 0 | 0
3:05 pm - 3:15 pm | 14 | 0 | 0 | 120 | 85 | C | Wrong location | 125 | 0.07 | 12.9231
3:20 pm - 3:35 pm | 15 | 0 | 200 | 0 | 84 | C |  | 120 | 0.01 | 1.8462
3:35 pm - 3:45 pm | 16 | 0 | 0 | 244 | 83 | C |  | 200 | 0.03 | 5.5385
3:50 pm - 4:00 pm | 17 | 74 | 0 | 0 | 86 | C |  | 244 | 0.35 | 64.6154
[8 empty] | 74 | 0.06 | 11.0769
[8 empty] | 118 | 0.26 | 48

## Day2_5_22
SINGLE LEAK BINARY DETECTION: YES/NO 10 MIN/LEAK
Measurement Time Block | Round Number | Source 1 | Source 2 | Source 3 | Temperature | Measurement Teams | Location
[11 empty] | 1 | scfh | 19.5 | g/h
8:25 am - 8:35 am | 1 | 315 | 0 | 0 | 63 | B/C | [6 empty] | 0.0054167 | g/s
8:40 am - 8:50 am | 2 | 0 | 430 | 0 | 62 | B/C | Wrong location | Quantification data for day 2
8:55 am - 9:05 am | 3 | 0 | 590 | 0 | 63 | B/C | Wrong Location | Actual | Measured | Measured
9:10 am - 9:20 am | 4 | 0 | 0 | 570 | 65 | B/C |  |  | g/s | scfh
9:25 am - 9:35 am | 5 | 800 | 0 | 0 | 64 | B/C |  | 315 | 0.57 | 105.2308
9:40 am - 9:50 am | 6 | 0 | 310 | 0 | 65 | B/C |  | 430 | 0.51 | 94.1538
9:55 am - 10:05 am | 7 | 0 | 0 | 0 |  | B/C |  | 590 | 2.41 | 444.9231
10:10 am - 10:20 am | 8 | 190 | 0 | 0 | 71 | B |  | 570 | 2.05 | 378.4615
10:25 am - 10:35 am | 9 | 0 | 410 | 0 | 73 | B/C |  | 800 | 0.87 | 160.6154
10:40 am - 10:50 am | 10 | 0 | 0 | 210 | 75 | B/C |  | 310 | 0.49 | 90.4615
10:55 am - 11:05 am | 11 | 0 | 110 | 0 | 74 | C |  | 410 | 0.26 | 48
11:10 am - 11:20 am | 12 | 0 | 42 | 0 | 75 | C | Wrong location | 210 | 0.94 | 173.5385
[8 empty] | 110 | 0.25 | 46.1538
SINGLE LEAK DETECTION AND QUANTIFICATION - 25 MIN/LEAK (only UC Truck) | [7 empty] | 42 | 0.06 | 11.0769
Long distance measurements (these measurements were estimate from the highway ~ 1 mile from the source) | [7 empty] | 800 | 1.52 | 280.6154
[8 empty] | 440 | 2.63 | 485.5385
1:35 pm - 1:50 pm | 13 | Background measurements; No releases |  |  |  | C |  | 0 | 0.1 | 18.4615
1:55 pm - 2: 20 pm | 14 | 0 | 0 | 800 | 82 | C | Wrong location
2:25 pm - 2:40 pm | 15 | 0 | 200 | 0 | 84
2:50 pm - 3:25 pm | 16 | 0 | 0 | 440 | 82 | C
3:40 pm - 4:05 pm | 17 | 0 | 0 | 780 | 84 | C

## Day3_5_23
SINGLE LEAK DETECTION/QUANTIFICATION
Measurement Time Block | Round Number | Source 1 | Source 2 | Source 3 | Temperature | Measurement Teams
[11 empty] | 1 | scfh | 19.5 | g/h
8:25 am - 8:45 am | 1 | 0 | 560 | 0 | 65 | Drone |  | Quantification for day 3 |  |  |  |  | 0.0054167 | g/s
8:55 am - 9:10 am | 2 | 0 | 720 | 0 | 63 | Drone |  | Actual | Measured | Measured
9:15 am - 9:30 am | 3 | 1240 | 0 | 0 | 63 | Drone |  |  | g/s | scfh
9:35 am - 9:50 am | 4 | 1450 | 0 | 0 | 65 | Drone |  | 244 | 0.65 | 120
[8 empty] | 130 | 0.51 | 94.1538
10:55 am - 11:05 am | 5 | 0 | 800 | 0 | 71 | B |  | 340 | 0.86 | 158.7692
11:08 am - 11:23 am | 6 | 1225 | 0 | 0 | 70 | B/Drone |  | 0 | 0.15 | 27.6923
11:28 am - 11:43 am | 7 | 0 | 540 | 0 | 73 | B/Drone |  | 75 | 0.14 | 25.8462
11:48 am - 12:03 pm | 8 | 1400 | 0 | 0 | 72 | B/Drone |  | 515 | 1.59 | 293.5385
12:08 pm - 12:23 pm | 9 | 0 | 780 | 0 | 73 | B/Drone |  | 240 | 0.29 | 53.5385
12:28 pm - 12:38 pm | 10 | 0 | 0 | 320 | 74 | B |  | 130 | 0.54 | 99.6923
[8 empty] | 510 | 0.63 | 116.3077
SINGLE LEAK DETECTION: 5 MIN/LEAK (only UC Truck) | [7 empty] | 0 | 0.1 | 18.4615
[8 empty] | 75 | 0.19 | 35.0769
2:25 pm - 2:30 pm | 1 | 244 | 0 | 0 | 76 | C |  | 340 | 0.19 | 35.0769
2:35 pm - 2:40 pm | 2 | 0 | 130 | 0 | 78 | C | Wrong location
2:45 pm - 2:50 pm | 3 | 0 | 0 | 340 | 76 | C
2:55 pm - 3:00 pm | 4 | 0 | 0 | 0 |  | C | Likely seeing tank
3:05 pm - 3:10 pm | 5 | 75 | 0 | 0 | 79 | C
3:15 pm - 3:20 pm | 6 | 515 | 0 | 0 | 75 | C
3:25 pm - 3:30 pm | 7 | 0 | 240 | 0 | 76 | C
3:35 pm - 3:40 pm | 8 | 130 | 0 | 0 | 78 | C | Wrong location
3:45 pm - 3:50 pm | 9 | 0 | 510 | 0 | 76 | C | Wrong location
3:55 pm - 4:00 pm | 10 | 0 | 0 | 0 |  | C | Likely seeing tank
4:05 pm - 4:10 pm | 11 | 0 | 75 | 0 | 78 | C | Wrong location
4:15 pm - 4:20 pm | 12 | 340 | 0 | 0 | 76 | C | Wrong location

## Day4_5_24
MULTI-LEAK QUANTIFICATION: 15 MIN/LEAK
Measurement Time Block | Round Number | Source 1 | Source 2 | Source 3 | Temperature |  |  | Measurement Teams
[5 empty] | Source 1 | Source 2 | Source 3 | [6 empty] | 1 | scfh | 19.5 | g/h
8:20 am - 8:35 am | 1 | 200 | 230 | 0 | 70 | 70 |  | B/C | [7 empty] | 0.0054167 | g/s
8:40 am - 8:55 am | 2 | 0 | 50 | 440 |  | 72 | 73 | B/C
9:00 am - 9:15 am | 3 | 140 | 130 | 130 | 73 | 73 | 78 | B/C |  | Quantification for day 4
9:20 am - 9:35 am | 4 | 460 | 0 | 0 | 77 |  |  | B/C | Location wrong | Actual | Measured | Measured
9:40 am - 9:55 am | 5 | 520 | 0 | 150 | 77 |  | 81 | B/C | Location wrong |  | g/s | scfh
10:00 am - 10:15 am | 6 | 0 | 610 | 0 |  | 76 |  | B/C |  | 200 | 0.03 | 5.5385
10:20 am - 10:35 am | 7 | 200 | 200 | 520 | 76 | 76 | 77 | B/C |  | 230 | 0.12 | 22.1538
10:40 am - 10:55 am | 8 | 0 | 0 | 0 |  |  |  | B/C |  | 0 | 0.1 | 18.4615
11:00 am - 11:15 am | 9 | 110 | 320 | 0 | 79 | 81 |  | B/C |  | 0 | 0 | 0
11:20 am - 11:35 am | 10 | 0 | 0 | 400 |  |  | 84 | B/C |  | 50 | 0.08 | 14.7692
11:40 am - 11:55 am | 11 | 680 | 145 | 0 | 83 | 81 |  | B/C | Location wrong | 440 | 0 | 0
12:00 pm - 12:15 pm | 12 | 150 | 620 | 155 | 81 | 80 | 85 | B/C |  | 140 | 0 | 0
12:20 pm - 12:35 pm | 13 | 140 | 0 | 135 | 80 |  | 87 | B/C | Location wrong | 130 | 0.13 | 24
[10 empty] | 130 | 0.16 | 29.5385
[10 empty] | 460 | 5.24 | 967.3846
2:30 pm - 2:50 pm | 14 | Baseline measurements | [5 empty] | C |  | 0 | 0 | 0
3:00 pm - 3:15 pm | 15 | 300 | 190 | 0 | 84 | 85 |  | C |  | 0 | 0 | 0
3:20 pm - 3:35 pm | 16 | 610 | 0 | 160 | 81 |  | 84 | C | Location wrong | 520 | 0.16 | 29.5385
3:40 pm - 3:55 pm | 17 | 0 | 240 | 0 |  | 84 |  | C |  | 0 | 0 | 0
4:00 pm - 4:15 pm | 18 | 500 | 100 | 300 | 81 | 84 | 80 | C |  | 150 | 0.78 | 144
[10 empty] | 0 | 0.11 | 20.3077
[10 empty] | 610 | 0.17 | 31.3846
[10 empty] | 0 | 0 | 0
[10 empty] | 200 | 0.22 | 40.6154
[10 empty] | 200 | 0.17 | 31.3846
[10 empty] | 520 | 0.22 | 40.6154
[10 empty] | 0 | 0 | 0
[10 empty] | 0 | 0.15 | 27.6923
[10 empty] | 0 | 0 | 0
[10 empty] | 110 | 0 | 0
[10 empty] | 320 | 0.11 | 20.3077
[10 empty] | 0 | 0 | 0
[10 empty] | 0 | 0 | 0
[10 empty] | 0 | 0.1 | 18.4615
[10 empty] | 400 | 2.37 | 437.5385
[10 empty] | 680 |  | 0 | na | wind too low to estimate
[10 empty] | 145 |  | 0 | na
[10 empty] | 0 |  | 0 | na
[10 empty] | 150 | 0 | 0
[10 empty] | 620 | 0.06 | 11.0769
[10 empty] | 155 | 0 | 0
[10 empty] | 140 | 0.08 | 14.7692
[10 empty] | 0 | 0 | 0
[10 empty] | 135 | 0.13 | 24
[10 empty] | 300 | 1.52 | 280.6154
[10 empty] | 190 | 0.25 | 46.1538
[10 empty] | 0 | 0.08 | 14.7692
[10 empty] | 610 | 0.2 | 36.9231
[10 empty] | 0 | 0 | 0
[10 empty] | 160 | 0.05 | 9.2308
[10 empty] | 0 | 0.69 | 127.3846
[10 empty] | 240 | 0.16 | 29.5385
[10 empty] | 0 | 0 | 0
[10 empty] | 500 | 0.39 | 72
[10 empty] | 100 | 0.58 | 107.0769
[10 empty] | 300 | 0.21 | 38.7692

## Day5_5_25
SINGLE LEAK DETECTION & QUANTIFICATION: YES/NO 5 and 15 MIN/LEAK
Notes: The day was cold (54 F), windy, and rainy
Measurement Time Block | Round Number | Source 1 | Source 2 | Source 3 | Temperature | Measurement Teams
[11 empty] | 1 | scfh | 19.5 | g/h
8:05 am - 8:10 am | 1 | 250 | 0 | 0 | 52 | C | No data (rain) | Quantification data for day 5 |  |  |  |  | 0.0054167 | g/s
8:15 am - 8:20 am | 2 | 500 | 0 | 0 | 51 | C |  | Actual | Measured | Measured
8:30 am - 8:35 am | 3 | 300 | 0 | 0 | 52 | C | No data (rain) |  | g/s | scfh
8:40 am - 8:45 am | 4 | 520 | 0 | 0 | 51 | C | No data (rain)
8:50 am - 8:55 am | 5 | 200 | 0 | 0 | 53 | C |  | 500 | 0.46 | 84.9231
9:00 am - 9:05 am | 6 | 0 | 0 | 0 |  | C |  | 200 | 2.57 | 474.4615
[8 empty] | 0 | 0.01 | 1.8462
9:10 am - 9:25 am | 7 | 750 | 0 | 0 | 51 | C |  | 750 | 3.44 | 635.0769
9:30 am - 9:45 am | 8 | 510 | 0 | 0 | 52 | C |  | 510 | 0.59 | 108.9231
9:50 am - 10:05 am | 9 | 240 | 0 | 0 | 52 | C |  | 240 | 0.18 | 33.2308
10:10 am - 10:25 am | 10 | 420 | 0 | 0 | 52 | C |  | 420 | 0.47 | 86.7692
10:30 am - 10:45 am | 11 | 130 | 0 | 0 | 56 | C |  | 130 | 0.28 | 51.6923
10:50 am - 11:05 am | 12 | 0 | 0 | 0 |  | C |  | 0 | 0.31 | 57.2308
11:05 am - 11:20 am | 13 | 300 | 0 | 0 | 60 | C |  | 300 | 0.51 | 94.1538