## Read ME
NOTES
1 | All times are in local Mountain Time
2 | Release data for each day is given in a separate tab
3 | Example Table data
| Measurement Time Block | Round Number | Time per leak (min) | Mean Wind Direction (degrees) | Mean Wind Speed | Percentage in 40 deg cone | Cone Size (half angle) | Pad 1 | Pad 2 | Pad 3 | Pad 4 | Pad 5
| Measurement Time Block |  | Approximate time interval for measurement in that particular round
| Round Number |  | Round number for each day where a team stays on the same pad
| Time per leak (min) |  | Time allotted for measurement (both detection and/or quantification)
| Mean Wind Direction |  | Vector average wind direction for the duration of the round (10 min or 20 min)
| Mean Wind Speed |  | Vector average wind speed for the duration of the round (10 min or 20 min)
| Percentage in 40 degree cone |  | Fraction of total measurement time during which the instantaneous wind is within a 40 degree cone (20 degree half angle) of the mean wind direction
| Cone Size (half angle) |  | If the 40 degree cone does not include at least 50% of instantaneous wind, we calculate the cone half angle above 20 degrees needed to include at least 50% of instantaneous wind
| Pad 1 - 5 |  | Pad numbers based on the figure below
Information available for each pad (also see supplementary material)
|  | L00 | No leak on current pad and no leak on any upwind pad
|  | L01 | No leak on current pad and leak on at least one upwind pad
|  | L11 | Leak on current pad and leak on at least one upwind pad
|  | L10 | Leak on current pad and no leak on any upwind pad
4 | Cell Shading Guidelines
|  | Type | Definition |  |  |  | Shading
|  | Weak Interference | Interference considered only for those tests where the average wind speed was greater than or equal to 2 m/s. |  |  |  | Red shaded tests are discarded in weak-interference analysis
|  | Strong Interference | Interference is considered for all tests, irrespective of average wind speed. |  |  |  | Red shaded tests are discarded in strong-interference analysis
N
Pad 1
Pad 3
Pad 4
Pad 5
Staging Area
150 m
Pad 2

## Day1_5_7
SINGLE LEAK BINARY DETECTION - YES/NO, 10 MIN/LEAK
Measurement Time Block | Round Number | Time per leak (min) | Mean Wind Direction (degrees) | Mean Wind Speed | Percentage in 40 deg cone | Cone Size (half angle) | Pad 1 | Pad 2 | Pad 3 | Pad 4 | Pad 5 | Class | Count
10:16 am - 10:28 am | 1 | 10 | 131.3 | 0.8 | 7.7 | 0 | L00 | L00 | L10 | L10 | L10 | L00 | 29
10:35 am - 10:45 am |  |  | 195.7 | 0.9 | 63.7 | 0 | L10 | L10 | L00 | L00 | L10 | L10 | 25
10:50 am - 11:00 am |  |  | 156.8 | 1.7 | 91 | 0 | L00 | L00 | L00 | L00 | L00 | L11 | 1
11:24 am - 11:34 am | 2 | 10 | 132 | 2.6 | 81.9 | 20 | L10 | L10 | L01 | L01 | L00 | L01 | 2
11:41 am - 11:51 am |  |  | 127.1 | 2.5 | 63.7 | 20 | L00 | L10 | L11 | L00 | L00
11:58 am - 12:08 am |  |  | 149.2 | 2.2 | 27.3 | 25.4 | L00 | L00 | ? | ? | ? | TOTAL | 57
1:45 pm - 1:55 pm | 3 | 10 | 140.5 | 0.4 | 27.3 | 0 | L00 | L00 | L10 | L10 | L10
2:03 pm - 2:13 pm |  |  | 72.1 | 1.3 | 45.5 | 0 | L10 | L10 | L10 | L00 | L00
2:20 pm - 2:30 pm |  |  | 72.2 | 0.5 | 9.1 | 0 | L00 | L00 | L00 | L00 | L00
2:48 pm - 2:58 pm | 4 | 10 | 134.9 | 1 | 27.3 | 0 | L10 | L00 | L10 | L10 | L00
3:01 pm - 3:11 pm |  |  | 181.1 | 2.5 | 100 | 20 | L00 | L00 | L10 | L10 | L10
3:20 pm - 3:30 pm |  |  | 176.1 | 1.8 | 100 | 0 | L00 | L10 | L10 | L10 | L10

## Day2_5_8
Measurement Time Block | Round Number | Time per leak (min) | Mean Wind Direction (degrees) | Mean Wind Speed | Percentage in 40 deg cone | Cone Size (half angle) | Pad 1 | Pad 2 | Pad 3 | Pad 4 | Pad 5 | Class | Count
SINGLE LEAK BINARY DETECTION - YES/NO, 10 MIN/LEAK
9:26 am - 9:36 am | 1 | 10 | 156.5 | 1 | 36.4 | 0 | L10 | L10 | L10 | L10 | L10 | L00 | 30
9:43 am - 9:53 am |  |  | 163.6 | 2.3 | 81.9 | 20 | L00 | L00 | L10 | L10 | L10 | L10 | 64
9:59 am - 10:10 am |  |  | 112.3 | 1.4 | 33.4 | 0 | L10 | L10 | L00 | L00 | L10 | L11 | 3
10:23 am - 10:33 am | 2 | 10 | 98.1 | 1.1 | 45.5 | 0 | L00 | L00 | L10 | L10 | L10 | L01 | 8
10:38 am - 10:48 am |  |  | 104.2 | 2.2 | 81.9 | 20 | L00 | L10 | L10 | L00 | L00
10:54 am - 11:05 am |  |  | 149 | 2.3 | 33.4 | 25.3 | L10 | L10 | L01 | L01 | L10 | TOTAL | 105
11:32 am - 11:42 am | 3 | 10 | 199.3 | 2.9 | 81.9 | 20 | L10 | L00 | L10 | L10 | L11
11:47 am - 11:57 am |  |  | 179.9 | 2.1 | 72.8 | 20 | L10 | L10 | L10 | L01 | L01
12:03 pm - 12:13 pm |  |  | 176.6 | 2.1 | 63.7 | 20 | L00 | L00 | L10 | L10 | L10
SINGLE LEAK BINARY DETECTION - YES/NO, 5 MIN/LEAK + 1 MIN/LEAK SET UP
1:39 pm - 1:45 pm | 4 | 5 | 200.6 | 3 | 85.8 | 20 | L00 | L00 | L10 | L10 | L10
1:48 pm - 1:54 pm |  |  | 184.5 | 3.1 | 100 | 20 | L10 | L10 | L10 | L11 | L11
2:00 pm - 2:06 pm |  |  | 146 | 3.3 | 57.2 | 20 | L00 | L00 | L10 | L10 | L10
2:12 pm - 2:18 pm |  |  | 159.5 | 2.9 | 85.8 | 20 | L00 | L00 | L00 | L00 | L00
2:35 pm - 2:41 pm | 5 | 5 | 230.4 | 1.6 | 71.5 | 0 | L10 | L00 | L10 | L10 | L10
2:48 pm - 2:54 pm |  |  | 183 | 2.6 | 85.8 | 20 | L10 | L10 | L10 | L01 | L01
3:04 pm - 3:10 pm |  |  | 163.1 | 1.6 | 57.2 | 0 | L00 | L00 | L10 | L10 | L10
3:17 pm - 3:23 pm |  |  | 147.8 | 0.5 | 0 | 0 | L00 | L10 | L10 | L10 | L10
3:39 pm - 3:45 pm | 6 | 5 | 331.1 | 0.1 | 0 | 0 | L10 | L10 | L10 | L10 | L00
3:50 pm - 3:56 pm |  |  | 218.9 | 2.1 | 85.8 | 20 | L00 | L00 | L10 | L10 | L10
4:03 pm - 4:09 pm |  |  | 212.5 | 1.7 | 42.9 | 0 | L10 | L00 | L00 | L10 | L10
4:15 pm - 4:21 pm |  |  | 191.9 | 2.5 | 100 | 20 | L10 | L10 | L10 | L01 | L01

## Day3_5_9
Measurement Time Block | Round Number | Time per leak (min) | Mean Wind Direction (degrees) | Mean Wind Speed | Percentage in 40 deg cone | Cone Size (half angle) | Pad 1 | Pad 2 | Pad 3 | Pad 4 | Pad 5 | Class | Count
SINGLE LEAK BINARY DETECTION - YES/NO, 5 MIN/LEAK
9:05 am - 9:11 am | 1 | 5 | 30.4 | 0.7 | 71.5 | 0 | L10 | L10 | L10 | L10 | L10 | L00 | 29
9:16 am - 9:22 am |  |  | 63.6 | 1.3 | 85.8 | 0 | L10 | L10 | L10 | L00 | L00 | L10 | 68
9:30 am - 9:36 am |  |  | 47.5 | 1.6 | 57.2 | 0 | L00 | L00 | L10 | L10 | L10 | L11 | 1
9:40 am - 9:46 am |  |  | 49.3 | 1.7 | 100 | 0 | L10 | L00 | L00 | L10 | L10 | L01 | 2
10:08 am - 10:14 am | 2 | 5 | 352.2 | 1 | 14.3 | 0 | L10 | L00 | L10 | L10 | L00
10:16 am - 10:22 am |  |  | 4.4 | 1 | 0 | 0 | L00 | L00 | L00 | L00 | L00 | TOTAL | 100
10:28 am - 10:34 am |  |  | 347.9 | 1.1 | 14.3 | 0 | L10 | L10 | L10 | L10 | L10
10:41 am - 10:47 am |  |  | 295.5 | 1.2 | 71.5 | 0 | L10 | L10 | L10 | L00 | L00
11:01 am - 11:07 am | 3 | 5 | 14.8 | 1 | 0 | 0 | L10 | L00 | L10 | L10 | L00
11:14 am - 11:20 am |  |  | 350.4 | 0.9 | 57.2 | 0 | L10 | L10 | L10 | L00 | L10
11:25 am - 11:31 am |  |  | 20.9 | 1.2 | 57.2 | 0 | L10 | L10 | L00 | L00 | L10
11:38 am - 11:44 am |  |  | 61.2 | 1.5 | 71.5 | 0 | L00 | L00 | L10 | L10 | L10
SINGLE LEAK QUNATIFICATION - 20 MIN/LEAK
1:08 pm - 1:28 pm | 4 | 20 | 91.8 | 1.5 | 57.2 | 0 | L10 | L10 | L10 | L10 | L10
1:34 pm - 1:54 pm |  |  | 127.1 | 0.3 | 4.8 | 0 | L10 | L10 | L10 | L10 | L10
2:05 pm - 2:25 pm | 5 | 20 | 143.2 | 1.5 | 14.3 | 0 | L10 | L10 | L10 | L00 | L00
2:30 pm - 2:50 pm |  |  | 58.6 | 1.4 | 42.9 | 0 | L00 | L00 | L10 | L10 | L10
2:58 pm - 3:18 pm | 6 | 20 | 349.6 | 1.7 | 23.9 | 0 | L10 | L10 | L10 | L10 | L10
3:24 pm - 3:44 pm |  |  | 183.9 | 2.5 | 76.2 | 20 | L10 | L00 | L10 | L10 | L01
3:51 pm - 4:11 pm | 7 | 20 | 200.8 | 3.7 | 100 | 20 | L10 | L00 | L10 | L10 | L11
4:16 pm - 4:36 pm |  |  | 181.8 | 3 | 100 | 20 | L00 | L10 | L10 | L01 | L10

## Day4_5_10
Measurement Time Block | Round Number | Time per leak (min) | Mean Wind Direction (degrees) | Mean Wind Speed | Percentage in 40 deg cone | Cone Size (half angle) | Pad 1 | Pad 2 | Pad 3 | Pad 4 | Pad 5 | Class | Count
MULTI-LEAK QUANTIFICATION - Upto 3 leaks/pad
9:23 am - 9:43 am | 1a | 20 | 2.2 | 0.4 | 9.6 | 0 | L10 | L10 | L10 | L10 | L10 | L00 | 8
[12 empty] | L10 | 47
[12 empty] | L11 | 3
9:55 am - 10:15 am | 1b | 20 | 72.2 | 0.9 | 42.9 | 0 | L10 | L10 | L10 | L10 | L10 | L01 | 2
[12 empty] | TOTAL | 60
10:29 am - 10:50 am | 2a | 20 | 88.7 | 1.5 | 50 | 0 | L10 | L10 | L10 | L10 | L10
11:00 am - 11:20 am | 2b | 20 | 128.6 | 1.3 | 19.1 | 0 | L10 | L10 | L10 | L10 | L10
11:30 am - 11:50 am | 3a | 20 | 159.1 | 3.1 | 57.2 | 20 | L00 | L00 | L10 | L10 | L10
12:04 pm - 12:24 pm | 3b | 20 | 148.7 | 3.3 | 66.7 | 20 | L10 | L10 | L11 | L01 | L01
1:45 pm - 2:05 pm | 4a | 20 | 106.5 | 1.1 | 9.6 | 0 | L10 | L10 | L10 | L10 | L10
2:13 pm - 2:33 pm | 4b | 20 | 313.5 | 2 | 62 | 20 | L11 | L11 | L10 | L10 | L10
2:47 pm - 3:07 pm | 5a | 20 | 19.3 | 1.4 | 47.7 | 0 | L10 | L10 | L10 | L10 | L10
3:18 pm - 3:38 pm | 5b | 20 | 102.3 | 0.3 | 9.6 | 0 | L10 | L10 | L00 | L00 | L10
3:46 pm - 4:06 pm | 6a | 20 | 51.7 | 1.5 | 42.9 | 0 | L00 | L00 | L10 | L10 | L10
4:25 pm - 4:45 pm | 6b | 20 | 10.1 | 8 | 100 | 20 | L10 | L10 | L10 | L00 | L00