## Title
Supplementary Material
Evaluation of next generation emission measurement technologies under repeatable test protocols
Clay S. Bell*, Daniel Zimmerle, Timothy Vaughn
Colorado State University, Energy Institute, Fort Collins, CO, 80524
Corresponding author: clay.bell@colostate.edu

## Fields
TestType | Testing Protocol: "Continuous Monitoring" or "Survey"
Difficulty | Complexity level of test: A = Single emission source operating at steady emission rate, B = Multiple emission sources, limited to one per equipment unit, operating at steady emission rates, C = Multiple emission sources, potentially on the same equipment unit, including steady and intermittent emission rates
Deployment | Solution deployment mode: Handheld, Mobile, or Continuous Monitor
Test_ID | Unique identifier for the test
true_emission_num | Unique identifier for each emission source in the test
true_pad | Pad which emission source was located on
true_group | Equipment group which emission point was located on
true_equip | Equipment unit which emission point was located on
true_avg_methane_rate | Average metered emission rate during experiment in (scfh CH4)
rptd_emission_num | Unique identifier for emission source reported in the test
rptd_pad | Pad which emission source was reported on
rptd_group | Equipment group which emission point was reported on
rptd_equip | Equipment unit which emission point was reported on
rptd_avg_methane_rate | Reported emission rate (scfh CH4)
LogicalDetect | Detection interpretation
Distance2D | Calculated distance between actual location and reported location (m)

## Data
TestType | Difficulty | Deployment | Test_ID | true_emission_num | true_pad | true_group | true_equip | true_avg_methane_rate | rptd_emission_num | rptd_pad | rptd_group | rptd_equip | rptd_avg_methane_rate | LogicalDetect | Distance2D
Continuous Monitor | A | Continuous Monitor | P4-A1 | 1 | 4 | 4W | 4W-3 | 6.4 | [5 empty] | NON_DETECT
Continuous Monitor | A | Continuous Monitor | P4-A1 | 1 | 4 | 4W | 4W-3 | 6.6 | 1 | 4 | 4W | 4W-1 | 5.6 | GROUP_DETECT | 7.1
Continuous Monitor | A | Continuous Monitor | P4-A1 | 1 | 4 | 4W | 4W-3 | 6.6 | 1 | 4 | 4W | 4W-1 | 10 | GROUP_DETECT | 7.0871
Continuous Monitor | A | Continuous Monitor | P4-A1 | [5 empty] | 1 | 4 | 4T | 4T-3 | 18.6 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A1 | [5 empty] | 2 | 4 | 4T | 4T-1 | 6 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A2 | 1 | 4 | 4T | 4T-2 | 6 | 1 | 4 | 4T | 4T-3 | 14.5 | GROUP_DETECT | 7.4
Continuous Monitor | A | Continuous Monitor | P4-A2 | 1 | 4 | 4T | 4T-2 | 5.8 | 1 | 4 | 4T | 4T-1 | 5.7 | GROUP_DETECT | 5
Continuous Monitor | A | Continuous Monitor | P4-A2 | 1 | 4 | 4T | 4T-2 | 5.8 | 2 | 4 | 4T | 4T-3 | 5 | GROUP_DETECT | 4.9549
Continuous Monitor | A | Continuous Monitor | P4-A2 | [5 empty] | 1 | 4 | 4W | 4W-2 | 30 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A3 | 1 | 4 | 4W | 4W-4 | 10.9 | 1 | 4 | 4W | 4W-5 | 46.6 | GROUP_DETECT | 3.8
Continuous Monitor | A | Continuous Monitor | P4-A3 | 1 | 4 | 4W | 4W-4 | 11.2 | 1 | 4 | 4W | 4W-3 | 6.5 | GROUP_DETECT | 3.6
Continuous Monitor | A | Continuous Monitor | P4-A3 | 1 | 4 | 4W | 4W-4 | 11.2 | [5 empty] | NON_DETECT
Continuous Monitor | A | Continuous Monitor | P4-A3 | [5 empty] | 2 | 4 | 4S | 4S-2 | 1.2 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A3 | [5 empty] | 1 | 4 | 4W | 4W-4 | 13 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A3 | [5 empty] | 2 | 4 | 4S | 4S-2 | 10 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A3 | [5 empty] | 3 | 4 | 4T | 4T-2 | 8 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A5 | 1 | 4 | 4S | 4S-3 | 7.1 | [5 empty] | NON_DETECT
Continuous Monitor | A | Continuous Monitor | P4-A5 | 1 | 4 | 4S | 4S-3 | 7.2 | 1 | 4 | 4S | 4S-3 | 8.4 | EQUIPMENT_DETECT | 0.7
Continuous Monitor | A | Continuous Monitor | P4-A5 | 1 | 4 | 4S | 4S-3 | 7.2 | 2 | 4 | 4S | 4S-3 | 20 | EQUIPMENT_DETECT | 0.93108
Continuous Monitor | A | Continuous Monitor | P4-A5 | [5 empty] | 1 | 4 | 4W | 4W-4 | 42.2 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A5 | [5 empty] | 2 | 4 | 4T | 4T-2 | 12.8 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A5 | [5 empty] | 1 | 4 | 4W | 4W-2 | 14.5 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A5 | [5 empty] | 3 | 4 | 4T | 4T-2 | 12 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A6 | 1 | 4 | 4S | 4S-3 | 4.6 | 2 | 4 | 4S | 4S-4 | 28.7 | GROUP_DETECT | 5.9
Continuous Monitor | A | Continuous Monitor | P4-A6 | 1 | 4 | 4S | 4S-3 | 4.7 | 1 | 4 | 4S | 4S-2 | 7.8 | GROUP_DETECT | 3.9
Continuous Monitor | A | Continuous Monitor | P4-A6 | 1 | 4 | 4S | 4S-3 | 4.7 | 1 | 4 | 4S | 4S-1 | 16 | GROUP_DETECT | 6.9885
Continuous Monitor | A | Continuous Monitor | P4-A6 | [5 empty] | 1 | 4 | 4W | 4W-1 | 16.9 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A6 | [5 empty] | 3 | 4 | 4S | 4S-1 | 16.6 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A6 | [5 empty] | 4 | 4 | 4W | 4W-5 | 48.5 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A6 | [5 empty] | 2 | 4 | 4T | 4T-1 | 8 | FALSE_POSITIVE
Continuous Monitor | A | Continuous Monitor | P4-A8 | 1 | 4 | 4T | 4T-3 | 5.4 | 1 | 4 | 4T | 4T-3 | 9.4 | EQUIPMENT_DETECT | 4.5
Continuous Monitor | A | Continuous Monitor | P4-A8 | 1 | 4 | 4T | 4T-3 | 5.1 | 1 | 4 | 4T | 4T-1 | 5.5 | GROUP_DETECT | 9.8
Continuous Monitor | A | Continuous Monitor | P4-A8 | 1 | 4 | 4T | 4T-3 | 5.1 | [5 empty] | NON_DETECT
Continuous Monitor | A | Continuous Monitor | P4-A8 | [5 empty] | 1 | 4 | 4W | 4W-2 | 9 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B1 | 1 | 4 | 4S | 4S-2 | 7.2 | 1 | 4 | 4S | 4S-4 | 15 | GROUP_DETECT | 9.1
Continuous Monitor | B | Continuous Monitor | P4-B1 | 1 | 4 | 4S | 4S-2 | 7.3 | 2 | 4 | 4S | 4S-4 | 4 | GROUP_DETECT | 7.7
Continuous Monitor | B | Continuous Monitor | P4-B1 | 1 | 4 | 4S | 4S-2 | 7.3 | 2 | 4 | 4S | 4S-1 | 8 | GROUP_DETECT | 4.0678
Continuous Monitor | B | Continuous Monitor | P4-B1 | 2 | 4 | 4W | 4W-2 | 0 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B1 | 2 | 4 | 4W | 4W-2 | 4.4 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B1 | 2 | 4 | 4W | 4W-2 | 4.4 | 1 | 4 | 4W | 4W-2 | 11 | EQUIPMENT_DETECT | 0.40835
Continuous Monitor | B | Continuous Monitor | P4-B1 | 3 | 4 | 4W | 4W-3 | 1.4 | 3 | 4 | 4W | 4W-4 | 9.7 | GROUP_DETECT | 4.3
Continuous Monitor | B | Continuous Monitor | P4-B1 | 3 | 4 | 4W | 4W-3 | 1.5 | 1 | 4 | 4W | 4W-3 | 1.8 | EQUIPMENT_DETECT | 1
Continuous Monitor | B | Continuous Monitor | P4-B1 | 3 | 4 | 4W | 4W-3 | 1.5 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B1 | [5 empty] | 2 | 4 | 4T | 4T-3 | 12.7 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B1 | [5 empty] | 3 | 4 | 4T | 4T-3 | 1.2 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B1 | [5 empty] | 3 | 4 | 4T | 4T-3 | 8 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B2 | 1 | 4 | 4T | 4T-3 | 9.2 | 3 | 4 | 4T | 4T-3 | 84.8 | EQUIPMENT_DETECT | 2.2
Continuous Monitor | B | Continuous Monitor | P4-B2 | 1 | 4 | 4T | 4T-3 | 9.8 | 3 | 4 | 4T | 4T-1 | 14.7 | GROUP_DETECT | 9.9
Continuous Monitor | B | Continuous Monitor | P4-B2 | 1 | 4 | 4T | 4T-3 | 9.8 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B2 | 2 | 4 | 4W | 4W-0 | 16.3 | 2 | 4 | 4W | 4W-3 | 35.4 | GROUP_DETECT | 4.6
Continuous Monitor | B | Continuous Monitor | P4-B2 | 2 | 4 | 4W | 4W-0 | 18.1 | 1 | 4 | 4W | 4W-3 | 13.2 | GROUP_DETECT | 4.3
Continuous Monitor | B | Continuous Monitor | P4-B2 | 2 | 4 | 4W | 4W-0 | 18.1 | 1 | 4 | 4W | 4W-5 | 38 | GROUP_DETECT | 7.8675
Continuous Monitor | B | Continuous Monitor | P4-B2 | [5 empty] | 1 | 4 | 4W | 4W-5 | 3.4 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B2 | [5 empty] | 2 | 4 | 4S | 4S-3 | 2.5 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B3 | 1 | 4 | 4S | 4S-2 | 8 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B3 | 1 | 4 | 4S | 4S-2 | 8.6 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B3 | 1 | 4 | 4S | 4S-2 | 8.6 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B3 | 2 | 4 | 4S | 4S-4 | 12.5 | 2 | 4 | 4S | 4S-4 | 37.2 | EQUIPMENT_DETECT | 1.3
Continuous Monitor | B | Continuous Monitor | P4-B3 | 2 | 4 | 4S | 4S-4 | 13.8 | 2 | 4 | 4S | 4S-3 | 36.4 | GROUP_DETECT | 3.5
Continuous Monitor | B | Continuous Monitor | P4-B3 | 2 | 4 | 4S | 4S-4 | 13.8 | 1 | 4 | 4S | 4S-3 | 30 | GROUP_DETECT | 3.5696
Continuous Monitor | B | Continuous Monitor | P4-B3 | [5 empty] | 1 | 4 | 4W | 4W-1 | 19.6 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B3 | [5 empty] | 1 | 4 | 4W | 4W-4 | 3.3 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B3 | [5 empty] | 3 | 4 | 4T | 4T-3 | 4.6 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B4 | 1 | 4 | 4S | 4S-3 | 3.5 | 1 | 4 | 4S | 4S-2 | 8.2 | GROUP_DETECT | 2.5
Continuous Monitor | B | Continuous Monitor | P4-B4 | 1 | 4 | 4S | 4S-3 | 3.5 | 2 | 4 | 4S | 4S-4 | 4.4 | GROUP_DETECT | 4.8
Continuous Monitor | B | Continuous Monitor | P4-B4 | 1 | 4 | 4S | 4S-3 | 3.5 | 2 | 4 | 4S | 4S-1 | 10 | GROUP_DETECT | 6.9885
Continuous Monitor | B | Continuous Monitor | P4-B4 | 2 | 4 | 4W | 4W-1 | 3.4 | 2 | 4 | 4W | 4W-3 | 28.1 | GROUP_DETECT | 6.4
Continuous Monitor | B | Continuous Monitor | P4-B4 | 2 | 4 | 4W | 4W-1 | 3.5 | 1 | 4 | 4W | 4W-1 | 0.9 | EQUIPMENT_DETECT | 0.1
Continuous Monitor | B | Continuous Monitor | P4-B4 | 2 | 4 | 4W | 4W-1 | 3.5 | 1 | 4 | 4W | 4W-1 | 39 | EQUIPMENT_DETECT | 0.16986
Continuous Monitor | B | Continuous Monitor | P4-B4 | [5 empty] | 3 | 4 | 4T | 4T-2 | 3 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B5 | 1 | 4 | 4S | 4S-2 | 1.2 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B5 | 1 | 4 | 4S | 4S-2 | 1.2 | 1 | 4 | 4S | 4S-3 | 1.4 | GROUP_DETECT | 4.2
Continuous Monitor | B | Continuous Monitor | P4-B5 | 1 | 4 | 4S | 4S-2 | 1.2 | 2 | 4 | 4S | 4S-3 | 24 | GROUP_DETECT | 4.0643
Continuous Monitor | B | Continuous Monitor | P4-B5 | 2 | 4 | 4T | 4T-1 | 6 | 1 | 4 | 4T | 4T-1 | 1 | EQUIPMENT_DETECT | 1.4
Continuous Monitor | B | Continuous Monitor | P4-B5 | 2 | 4 | 4T | 4T-1 | 5.8 | 2 | 4 | 4T | 4T-1 | 3.1 | EQUIPMENT_DETECT | 1.7
Continuous Monitor | B | Continuous Monitor | P4-B5 | 2 | 4 | 4T | 4T-1 | 5.8 | 3 | 4 | 4T | 4T-2 | 24 | GROUP_DETECT | 4.8577
Continuous Monitor | B | Continuous Monitor | P4-B5 | 3 | 4 | 4W | 4W-1 | 3.4 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B5 | 3 | 4 | 4W | 4W-1 | 3.5 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B5 | 3 | 4 | 4W | 4W-1 | 3.5 | 1 | 4 | 4W | 4W-3 | 10 | GROUP_DETECT | 7.5347
Continuous Monitor | B | Continuous Monitor | P4-B5 | [5 empty] | 2 | 4 | 4T | 4T-3 | 9.7 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B6 | 1 | 4 | 4S | 4S-3 | 3.5 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B6 | 1 | 4 | 4S | 4S-3 | 3.7 | 1 | 4 | 4S | 4S-3 | 3.4 | EQUIPMENT_DETECT | 0.7
Continuous Monitor | B | Continuous Monitor | P4-B6 | 1 | 4 | 4S | 4S-3 | 3.7 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B6 | 2 | 4 | 4W | 4W-4 | 1.4 | 1 | 4 | 4W | 4W-1 | 1.3 | GROUP_DETECT | 9.6
Continuous Monitor | B | Continuous Monitor | P4-B6 | 2 | 4 | 4W | 4W-4 | 1.5 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B6 | 2 | 4 | 4W | 4W-4 | 1.5 | [5 empty] | NON_DETECT
Continuous Monitor | B | Continuous Monitor | P4-B6 | [5 empty] | 2 | 4 | 4T | 4T-1 | 8.8 | FALSE_POSITIVE
Continuous Monitor | B | Continuous Monitor | P4-B6 | [5 empty] | 1 | 4 | 4C | 4C-1 | 35 | FALSE_POSITIVE
Continuous Monitor | C | Continuous Monitor | P4-C1 | 1 | 4 | 4S | 4S-3 | 5.7 | 1 | 4 | 4S | 4S-1 | 30.6 | GROUP_DETECT | 6.8
Continuous Monitor | C | Continuous Monitor | P4-C1 | 1 | 4 | 4S | 4S-3 | 5.5 | 2 | 4 | 4S | 4S-3 | 12.2 | EQUIPMENT_DETECT | 2.2
Continuous Monitor | C | Continuous Monitor | P4-C1 | 1 | 4 | 4S | 4S-3 | 5.5 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C1 | 2 | 4 | 4S | 4S-4 | 0 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C1 | 2 | 4 | 4S | 4S-4 | 0 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C1 | 2 | 4 | 4S | 4S-4 | 0 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C1 | 3 | 4 | 4W | 4W-0 | 9.3 | 2 | 4 | 4W | 4W-1 | 2.1 | GROUP_DETECT | 8
Continuous Monitor | C | Continuous Monitor | P4-C1 | 3 | 4 | 4W | 4W-0 | 9.7 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C1 | 3 | 4 | 4W | 4W-0 | 9.7 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C1 | 4 | 4 | 4W | 4W-4 | 0.1 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C1 | 4 | 4 | 4W | 4W-4 | 0.1 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C1 | 4 | 4 | 4W | 4W-4 | 0.1 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C1 | 5 | 4 | 4W | 4W-4 | 3.1 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C1 | 5 | 4 | 4W | 4W-4 | 3.3 | 1 | 4 | 4W | 4W-5 | 5.1 | GROUP_DETECT | 3.6
Continuous Monitor | C | Continuous Monitor | P4-C1 | 5 | 4 | 4W | 4W-4 | 3.3 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C1 | [5 empty] | 1 | 4 | 4W | 4W-4 | 7 | FALSE_POSITIVE
Continuous Monitor | C | Continuous Monitor | P4-C2 | 1 | 4 | 4S | 4S-2 | 0.1 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C2 | 1 | 4 | 4S | 4S-2 | 0.1 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C2 | 1 | 4 | 4S | 4S-2 | 0.1 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C2 | 2 | 4 | 4S | 4S-4 | 0.2 | 2 | 4 | 4S | 4S-4 | 5.5 | EQUIPMENT_DETECT | 1.4
Continuous Monitor | C | Continuous Monitor | P4-C2 | 2 | 4 | 4S | 4S-4 | 0.2 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C2 | 2 | 4 | 4S | 4S-4 | 0.2 | 1 | 4 | 4S | 4S-3 | 22.5 | GROUP_DETECT | 3.5696
Continuous Monitor | C | Continuous Monitor | P4-C2 | 3 | 4 | 4T | 4T-1 | 1.9 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C2 | 3 | 4 | 4T | 4T-1 | 7.1 | 2 | 4 | 4T | 4T-1 | 1.2 | EQUIPMENT_DETECT | 1.7
Continuous Monitor | C | Continuous Monitor | P4-C2 | 3 | 4 | 4T | 4T-1 | 7.1 | 2 | 4 | 4T | 4T-1 | 11 | EQUIPMENT_DETECT | 1.8222
Continuous Monitor | C | Continuous Monitor | P4-C2 | 4 | 4 | 4T | 4T-3 | 1.9 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C2 | 4 | 4 | 4T | 4T-3 | 8.6 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C2 | 4 | 4 | 4T | 4T-3 | 8.6 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C2 | [5 empty] | 1 | 4 | 4W | 4W-5 | 0.1 | FALSE_POSITIVE
Continuous Monitor | C | Continuous Monitor | P4-C2 | [5 empty] | 1 | 4 | 4W | 4W-5 | 0.9 | FALSE_POSITIVE
Continuous Monitor | C | Continuous Monitor | P4-C3 | 1 | 4 | 4S | 4S-2 | 4.8 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C3 | 1 | 4 | 4S | 4S-2 | 4.9 | 2 | 4 | 4S | 4S-3 | 6.9 | GROUP_DETECT | 4.2
Continuous Monitor | C | Continuous Monitor | P4-C3 | 1 | 4 | 4S | 4S-2 | 4.9 | 2 | 4 | 4S | 4S-3 | 8.5 | GROUP_DETECT | 4.0643
Continuous Monitor | C | Continuous Monitor | P4-C3 | 2 | 4 | 4T | 4T-3 | 6.8 | 1 | 4 | 4T | 4T-3 | 24.1 | EQUIPMENT_DETECT | 2.7
Continuous Monitor | C | Continuous Monitor | P4-C3 | 2 | 4 | 4T | 4T-3 | 5.9 | 3 | 4 | 4T | 4T-3 | 10.7 | EQUIPMENT_DETECT | 0.3
Continuous Monitor | C | Continuous Monitor | P4-C3 | 2 | 4 | 4T | 4T-3 | 5.9 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C3 | 3 | 4 | 4T | 4T-3 | 2.5 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C3 | 3 | 4 | 4T | 4T-3 | 2.4 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C3 | 3 | 4 | 4T | 4T-3 | 2.4 | 3 | 4 | 4T | 4T-3 | 10 | EQUIPMENT_DETECT | 0.47984
Continuous Monitor | C | Continuous Monitor | P4-C3 | 4 | 4 | 4W | 4W-3 | 4.9 | [5 empty] | NON_DETECT
Continuous Monitor | C | Continuous Monitor | P4-C3 | 4 | 4 | 4W | 4W-3 | 5.1 | 1 | 4 | 4W | 4W-3 | 4.8 | EQUIPMENT_DETECT | 1
Continuous Monitor | C | Continuous Monitor | P4-C3 | 4 | 4 | 4W | 4W-3 | 5.1 | 1 | 4 | 4W | 4W-2 | 12 | GROUP_DETECT | 3.496
Survey | A | Handheld | P1-A1 | 1 | 1 | 1W | 1W-1 | 19.6 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0
Survey | A | Handheld | P1-A1 | 1 | 1 | 1W | 1W-1 | 15.2 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0
Survey | A | Mobile | P1-A1 | 1 | 1 | 1W | 1W-1 | 19.6 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.5
Survey | A | Mobile | P1-A1 | 1 | 1 | 1W | 1W-1 | 15.2 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.5
Survey | A | Handheld | P1-A1 | 1 | 1 | 1W | 1W-1 | 19.6 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 1.1
Survey | A | Handheld | P1-A1 | 1 | 1 | 1W | 1W-1 | 15.2 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 1.3
Survey | A | Mobile | P1-A1 | 1 | 1 | 1W | 1W-1 | 17.6 | 1 | 1 | 1W | 1W-1 | 11.1 | EQUIPMENT_DETECT | 0.6
Survey | A | Mobile | P1-A1 | 1 | 1 | 1W | 1W-1 | 17 | 1 | 1 | 1W | 1W-1 | 14.6 | EQUIPMENT_DETECT | 0.27813
Survey | A | Mobile | P1-A1 | 1 | 1 | 1W | 1W-1 | 15.3 | 1 | 1 | 1W | 1W-1 | 15.4 | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P1-A1 | 1 | 1 | 1W | 1W-1 | 16 | [5 empty] | GROUP_DETECT
Survey | A | Mobile | P1-A1 | [5 empty] | 1 | 1 | 1S | 1S-1 | 26 | FALSE_POSITIVE
Survey | A | Handheld | P1-A6 | 1 | 1 | 1S | 1S-1 | 13.2 | 1 | 1 | 1S | 1S-1 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Handheld | P1-A6 | 1 | 1 | 1S | 1S-1 | 13.2 | 1 | 1 | 1S | 1S-1 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P1-A6 | 1 | 1 | 1S | 1S-1 | 13.2 | 1 | 1 | 1S | 1S-1 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P1-A6 | 1 | 1 | 1S | 1S-1 | 13.2 | 1 | 1 | 1S | 1S-1 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Handheld | P1-A6 | 1 | 1 | 1S | 1S-1 | 13.2 | 1 | 1 | 1S | 1S-1 |  | EQUIPMENT_DETECT | 2.5
Survey | A | Handheld | P1-A6 | 1 | 1 | 1S | 1S-1 | 13.2 | 1 | 1 | 1S | 1S-1 |  | EQUIPMENT_DETECT | 3.1
Survey | A | Mobile | P1-A6 | 1 | 1 | 1S | 1S-1 | 14 | 1 | 1 | 1S | 1S-1 | 4.5 | EQUIPMENT_DETECT | 2.4
Survey | A | Mobile | P1-A6 | 1 | 1 | 1S | 1S-1 | 12.7 | 1 | 1 | 1S | 1S-1 | 0.8 | EQUIPMENT_DETECT | 0.11968
Survey | A | Mobile | P1-A6 | 1 | 1 | 1S | 1S-1 | 11.9 | 1 | 1 | 1S | 1S-1 | 17.8 | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P1-A6 | 1 | 1 | 1S | 1S-1 | 11 | 1 | 1 | 1S | 1S-1 | 19 | EQUIPMENT_DETECT | 0.2
Survey | A | Handheld | P2-A2 | 1 | 2 | 2W | 2W-1 | 12.3 | 1 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Handheld | P2-A2 | 1 | 2 | 2W | 2W-1 | 10.7 | 1 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P2-A2 | 1 | 2 | 2W | 2W-1 | 12.3 | 1 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P2-A2 | 1 | 2 | 2W | 2W-1 | 10.7 | 1 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Handheld | P2-A2 | 1 | 2 | 2W | 2W-1 | 12.3 | 1 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 3.3
Survey | A | Handheld | P2-A2 | 1 | 2 | 2W | 2W-1 | 10.7 | 1 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 3.2
Survey | A | Mobile | P2-A2 | 1 | 2 | 2W | 2W-1 | 9.7 | 1 | 2 | 2W | 2W-1 | 11.1 | EQUIPMENT_DETECT | 0.5
Survey | A | Mobile | P2-A2 | 1 | 2 | 2W | 2W-1 | 10 | 1 | 2 | 2W | 2W-1 | 3.2 | EQUIPMENT_DETECT | 0.39244
Survey | A | Mobile | P2-A2 | 1 | 2 | 2W | 2W-1 | 9.2 | 1 | 2 | 2W | 2W-1 | 7.5 | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P2-A2 | 1 | 2 | 2W | 2W-1 | 10.1 | 1 | 2 | 2W | 2W-1 | 7 | EQUIPMENT_DETECT | 0.6
Survey | A | Handheld | P3-A3 | 1 | 3 | 3T | 3T-1 | 30.4 | 1 | 3 | 3T | 3T-1 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Handheld | P3-A3 | 1 | 3 | 3T | 3T-1 | 25.8 | 1 | 3 | 3T | 3T-1 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P3-A3 | 1 | 3 | 3T | 3T-1 | 30.4 | 1 | 3 | 3T | 3T-1 |  | EQUIPMENT_DETECT | 0.3
Survey | A | Mobile | P3-A3 | 1 | 3 | 3T | 3T-1 | 25.8 | 1 | 3 | 3T | 3T-1 |  | EQUIPMENT_DETECT | 0.3
Survey | A | Handheld | P3-A3 | 1 | 3 | 3T | 3T-1 | 30.4 | 1 | 3 | 3T | 3T-1 |  | EQUIPMENT_DETECT | 2
Survey | A | Handheld | P3-A3 | 1 | 3 | 3T | 3T-1 | 25.8 | 1 | 3 | 3T | 3T-1 |  | EQUIPMENT_DETECT | 2.2
Survey | A | Mobile | P3-A3 | 1 | 3 | 3T | 3T-1 | 25.5 | 1 | 3 | 3T | 3T-1 | 21.6 | EQUIPMENT_DETECT | 1.3
Survey | A | Mobile | P3-A3 | 1 | 3 | 3T | 3T-1 | 25.4 | 1 | 3 | 3T | 3T-1 | 18.1 | EQUIPMENT_DETECT | 0.2034
Survey | A | Mobile | P3-A3 | 1 | 3 | 3T | 3T-1 | 25.9 | 1 | 3 | 3T | 3T-1 | 34.8 | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P3-A3 | 1 | 3 | 3T | 3T-1 | 26 | 1 | 3 | 3T | 3T-1 | 41 | EQUIPMENT_DETECT | 0.4
Survey | A | Handheld | P4-A4 | 1 | 4 | 4S | 4S-4 | 5.9 | 1 | 4 | 4S | 4S-4 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Handheld | P4-A4 | 1 | 4 | 4S | 4S-4 | 4.8 | 1 | 4 | 4S | 4S-4 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P4-A4 | 1 | 4 | 4S | 4S-4 | 5.9 | 1 | 4 | 4S | 4S-4 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P4-A4 | 1 | 4 | 4S | 4S-4 | 4.8 | 1 | 4 | 4S | 4S-4 |  | EQUIPMENT_DETECT | 0.2
Survey | A | Handheld | P4-A4 | 1 | 4 | 4S | 4S-4 | 5.9 | 1 | 4 | 4S | 4S-4 |  | EQUIPMENT_DETECT | 5.2
Survey | A | Handheld | P4-A4 | 1 | 4 | 4S | 4S-4 | 4.8 | 2 | 4 | 4S | 4S-4 |  | EQUIPMENT_DETECT | 5.6
Survey | A | Mobile | P4-A4 | 1 | 4 | 4S | 4S-4 | 4.4 |  | 4 | 4N |  |  | NON_DETECT
Survey | A | Mobile | P4-A4 | 1 | 4 | 4S | 4S-4 | 4.5 | 1 | 4 | 4S | 4S-4 | 0 | EQUIPMENT_DETECT | 0.17737
Survey | A | Mobile | P4-A4 | 1 | 4 | 4S | 4S-4 | 4.4 | 1 | 4 | 4S | 4S-4 | 4 | EQUIPMENT_DETECT | 0.2
Survey | A | Mobile | P4-A4 | 1 | 4 | 4S | 4S-4 | 4.4 | 1 | 4 | 4S | 4S-4 | 4 | EQUIPMENT_DETECT | 0.8
Survey | A | Handheld | P4-A4 | [5 empty] | 1 | 4 | 4T | 4T-1 |  | FALSE_POSITIVE
Survey | A | Handheld | P5-A5 | 1 | 5 | 5W | 5W-1 | 3.9 | 1 | 5 | 5W | 5W-1 |  | EQUIPMENT_DETECT | 0.1
Survey | A | Handheld | P5-A5 | 1 | 5 | 5W | 5W-1 | 16.1 | 1 | 5 | 5W | 5W-1 |  | EQUIPMENT_DETECT | 0.1
Survey | A | Mobile | P5-A5 | 1 | 5 | 5W | 5W-1 | 3.9 | 1 | 5 | 5W | 5W-1 |  | EQUIPMENT_DETECT | 0.1
Survey | A | Mobile | P5-A5 | 1 | 5 | 5W | 5W-1 | 16.1 | 1 | 5 | 5W | 5W-1 |  | EQUIPMENT_DETECT | 0.1
Survey | A | Handheld | P5-A5 | 1 | 5 | 5W | 5W-1 | 3.9 | 1 | 5 | 5W | 5W-1 |  | EQUIPMENT_DETECT | 1.6
Survey | A | Handheld | P5-A5 | 1 | 5 | 5W | 5W-1 | 16.1 | 1 | 5 | 5W | 5W-1 |  | EQUIPMENT_DETECT | 2.7
Survey | A | Mobile | P5-A5 | 1 | 5 | 5W | 5W-1 | 11.5 | 1 | 5 | 5W | 5W-1 | 15.9 | EQUIPMENT_DETECT | 1.8
Survey | A | Mobile | P5-A5 | 1 | 5 | 5W | 5W-1 | 11.6 | 1 | 5 | 5W | 5W-1 | 1.3 | EQUIPMENT_DETECT | 0.070863
Survey | A | Mobile | P5-A5 | 1 | 5 | 5W | 5W-1 | 11.4 | 1 | 5 | 5W | 5W-1 | 12.8 | EQUIPMENT_DETECT | 0.3
Survey | A | Mobile | P5-A5 | 1 | 5 | 5W | 5W-1 | 10.9 | 1 | 5 | 5W | 5W-1 | 24 | EQUIPMENT_DETECT | 0.6
Survey | A | Mobile | P5-A5 | [5 empty] | 2 | 5 | 5S | 5S-2 | 0.5 | FALSE_POSITIVE
Survey | B | Handheld | P1-B5 | 1 | 1 | 1S | 1S-1 | 8.6 | 2 | 1 | 1S | 1S-1 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Handheld | P1-B5 | 1 | 1 | 1S | 1S-1 | 7.3 | 2 | 1 | 1S | 1S-1 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P1-B5 | 1 | 1 | 1S | 1S-1 | 8.6 | 1 | 1 | 1S | 1S-1 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P1-B5 | 1 | 1 | 1S | 1S-1 | 7.3 | 1 | 1 | 1S | 1S-1 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Handheld | P1-B5 | 1 | 1 | 1S | 1S-1 | 8.6 | [5 empty] | GROUP_DETECT
Survey | B | Handheld | P1-B5 | 1 | 1 | 1S | 1S-1 | 7.3 | 2 | 1 | 1S | 1S-1 |  | EQUIPMENT_DETECT | 5
Survey | B | Mobile | P1-B5 | 1 | 1 | 1S | 1S-1 | 7.4 | 2 | 1 | 1S | 1S-1 | 15.5 | EQUIPMENT_DETECT | 3.7
Survey | B | Mobile | P1-B5 | 1 | 1 | 1S | 1S-1 | 6.8 | [5 empty] | GROUP_DETECT
Survey | B | Mobile | P1-B5 | 1 | 1 | 1S | 1S-1 | 5.5 | 1 | 1 | 1S | 1S-1 | 9.7 | EQUIPMENT_DETECT | 3.7
Survey | B | Mobile | P1-B5 | 1 | 1 | 1S | 1S-1 | 6.8 | 1 | 1 | 1S | 1S-1 | 7 | EQUIPMENT_DETECT | 1.2
Survey | B | Handheld | P1-B5 | 2 | 1 | 1W | 1W-1 | 5.8 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Handheld | P1-B5 | 2 | 1 | 1W | 1W-1 | 4.6 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P1-B5 | 2 | 1 | 1W | 1W-1 | 5.8 | 2 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.4
Survey | B | Mobile | P1-B5 | 2 | 1 | 1W | 1W-1 | 4.6 | 2 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.4
Survey | B | Handheld | P1-B5 | 2 | 1 | 1W | 1W-1 | 5.8 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.6
Survey | B | Handheld | P1-B5 | 2 | 1 | 1W | 1W-1 | 4.6 | [5 empty] | GROUP_DETECT
Survey | B | Mobile | P1-B5 | 2 | 1 | 1W | 1W-1 | 5.2 | 1 | 1 | 1W | 1W-1 | 17.2 | EQUIPMENT_DETECT | 1
Survey | B | Mobile | P1-B5 | 2 | 1 | 1W | 1W-1 | 4.6 | 1 | 1 | 1W | 1W-1 | 0.9 | EQUIPMENT_DETECT | 0.70694
Survey | B | Mobile | P1-B5 | 2 | 1 | 1W | 1W-1 | 3.5 | 2 | 1 | 1W | 1W-1 | 6 | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P1-B5 | 2 | 1 | 1W | 1W-1 | 4.5 | [5 empty] | GROUP_DETECT
Survey | B | Handheld | P1-B5 | [5 empty] | 2 | 1 | 1S | 1S-1 |  | FALSE_POSITIVE
Survey | B | Handheld | P1-B5 | [5 empty] | 1 | 1 | 1W | 1W-1 |  | FALSE_POSITIVE
Survey | B | Handheld | P2-B1 | 1 | 2 | 2S | 2S-1 | 7 |  | 2 | 2N |  |  | NON_DETECT
Survey | B | Handheld | P2-B1 | 1 | 2 | 2S | 2S-1 | 7.2 | 2 | 2 | 2S | 2S-1 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P2-B1 | 1 | 2 | 2S | 2S-1 | 7 | 1 | 2 | 2S | 2S-1 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P2-B1 | 1 | 2 | 2S | 2S-1 | 7.2 | 1 | 2 | 2S | 2S-1 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Handheld | P2-B1 | 1 | 2 | 2S | 2S-1 | 7 | 2 | 2 | 2S | 2S-1 |  | EQUIPMENT_DETECT | 3.9
Survey | B | Handheld | P2-B1 | 1 | 2 | 2S | 2S-1 | 7.2 | 1 | 2 | 2S | 2S-1 |  | EQUIPMENT_DETECT | 3.9
Survey | B | Mobile | P2-B1 | 1 | 2 | 2S | 2S-1 | 5.5 | [5 empty] | GROUP_DETECT
Survey | B | Mobile | P2-B1 | 1 | 2 | 2S | 2S-1 | 5.8 | 2 | 2 | 2S | 2S-1 | 0 | EQUIPMENT_DETECT | 0.35937
Survey | B | Mobile | P2-B1 | 1 | 2 | 2S | 2S-1 | 5.1 | 2 | 2 | 2S | 2S-1 | 5.4 | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P2-B1 | 1 | 2 | 2S | 2S-1 | 5.7 | [5 empty] | GROUP_DETECT
Survey | B | Handheld | P2-B1 | 2 | 2 | 2W | 2W-1 | 5.6 |  | 2 | 2N |  |  | NON_DETECT
Survey | B | Handheld | P2-B1 | 2 | 2 | 2W | 2W-1 | 5.6 | 1 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 0.2
Survey | B | Mobile | P2-B1 | 2 | 2 | 2W | 2W-1 | 5.6 | 2 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 0.3
Survey | B | Mobile | P2-B1 | 2 | 2 | 2W | 2W-1 | 5.6 | 2 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 0.3
Survey | B | Handheld | P2-B1 | 2 | 2 | 2W | 2W-1 | 5.6 | 1 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 3.7
Survey | B | Handheld | P2-B1 | 2 | 2 | 2W | 2W-1 | 5.6 | 2 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 3.7
Survey | B | Mobile | P2-B1 | 2 | 2 | 2W | 2W-1 | 4.5 | 1 | 2 | 2W | 2W-1 | 7.5 | EQUIPMENT_DETECT | 1.5
Survey | B | Mobile | P2-B1 | 2 | 2 | 2W | 2W-1 | 4.6 | 1 | 2 | 2W | 2W-1 | 0 | EQUIPMENT_DETECT | 0.18656
Survey | B | Mobile | P2-B1 | 2 | 2 | 2W | 2W-1 | 4.1 | 1 | 2 | 2W | 2W-1 | 4.8 | EQUIPMENT_DETECT | 0.2
Survey | B | Mobile | P2-B1 | 2 | 2 | 2W | 2W-1 | 4.6 | 1 | 2 | 2W | 2W-1 | 9 | EQUIPMENT_DETECT | 1.4
Survey | B | Handheld | P2-B6 | 1 | 2 | 2T | 2T-1 | 12.6 | 1 | 2 | 2T | 2T-1 |  | EQUIPMENT_DETECT | 0.3
Survey | B | Handheld | P2-B6 | 1 | 2 | 2T | 2T-1 | 10.7 | 2 | 2 | 2T | 2T-1 |  | EQUIPMENT_DETECT | 0.3
Survey | B | Mobile | P2-B6 | 1 | 2 | 2T | 2T-1 | 12.6 | 1 | 2 | 2T | 2T-1 |  | EQUIPMENT_DETECT | 0.2
Survey | B | Mobile | P2-B6 | 1 | 2 | 2T | 2T-1 | 10.7 | 1 | 2 | 2T | 2T-1 |  | EQUIPMENT_DETECT | 0.2
Survey | B | Handheld | P2-B6 | 1 | 2 | 2T | 2T-1 | 12.6 | 1 | 2 | 2T | 2T-1 |  | EQUIPMENT_DETECT | 1.7
Survey | B | Handheld | P2-B6 | 1 | 2 | 2T | 2T-1 | 10.7 | 1 | 2 | 2T | 2T-1 |  | EQUIPMENT_DETECT | 1.3
Survey | B | Mobile | P2-B6 | 1 | 2 | 2T | 2T-1 | 9.8 | 1 | 2 | 2T | 2T-1 | 7.3 | EQUIPMENT_DETECT | 0.8
Survey | B | Mobile | P2-B6 | 1 | 2 | 2T | 2T-1 | 10 | 2 | 2 | 2T | 2T-1 | 6.5 | EQUIPMENT_DETECT | 0.33957
Survey | B | Mobile | P2-B6 | 1 | 2 | 2T | 2T-1 | 9 | 1 | 2 | 2T | 2T-1 | 7 | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P2-B6 | 1 | 2 | 2T | 2T-1 | 10.1 | [5 empty] | GROUP_DETECT
Survey | B | Handheld | P2-B6 | 2 | 2 | 2W | 2W-1 | 3.9 | 2 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 0.2
Survey | B | Handheld | P2-B6 | 2 | 2 | 2W | 2W-1 | 3.3 | 1 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 0.2
Survey | B | Mobile | P2-B6 | 2 | 2 | 2W | 2W-1 | 3.9 | [5 empty] | GROUP_DETECT
Survey | B | Mobile | P2-B6 | 2 | 2 | 2W | 2W-1 | 3.3 | [5 empty] | GROUP_DETECT
Survey | B | Handheld | P2-B6 | 2 | 2 | 2W | 2W-1 | 3.9 | 2 | 2 | 2W | 2W-1 |  | EQUIPMENT_DETECT | 3.7
Survey | B | Handheld | P2-B6 | 2 | 2 | 2W | 2W-1 | 3.3 | [5 empty] | GROUP_DETECT
Survey | B | Mobile | P2-B6 | 2 | 2 | 2W | 2W-1 | 3.1 | [5 empty] | GROUP_DETECT
Survey | B | Mobile | P2-B6 | 2 | 2 | 2W | 2W-1 | 3.2 | 1 | 2 | 2W | 2W-1 | 1 | EQUIPMENT_DETECT | 0.2471
Survey | B | Mobile | P2-B6 | 2 | 2 | 2W | 2W-1 | 2.9 | 2 | 2 | 2W | 2W-1 | 4 | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P2-B6 | 2 | 2 | 2W | 2W-1 | 3.1 | 1 | 2 | 2W | 2W-1 | 24 | EQUIPMENT_DETECT | 1.4
Survey | B | Handheld | P3-B2 | 1 | 3 | 3S | 3S-2 | 5.1 | 1 | 3 | 3S | 3S-2 |  | EQUIPMENT_DETECT | 0.3
Survey | B | Handheld | P3-B2 | 1 | 3 | 3S | 3S-2 | 6 | 1 | 3 | 3S | 3S-2 |  | EQUIPMENT_DETECT | 0.3
Survey | B | Handheld | P3-B2 | 1 | 3 | 3S | 3S-2 | 7.3 | 1 | 3 | 3S | 3S-2 |  | EQUIPMENT_DETECT | 0.3
Survey | B | Mobile | P3-B2 | 1 | 3 | 3S | 3S-2 | 5.1 | 1 | 3 | 3S | 3S-1 |  | GROUP_DETECT | 6.2
Survey | B | Mobile | P3-B2 | 1 | 3 | 3S | 3S-2 | 6 | 1 | 3 | 3S | 3S-2 |  | EQUIPMENT_DETECT | 0.3
Survey | B | Mobile | P3-B2 | 1 | 3 | 3S | 3S-2 | 7.3 | 1 | 3 | 3S | 3S-2 |  | EQUIPMENT_DETECT | 0.3
Survey | B | Handheld | P3-B2 | 1 | 3 | 3S | 3S-2 | 5.1 | 1 | 3 | 3S | 3S-2 |  | EQUIPMENT_DETECT | 3.8
Survey | B | Handheld | P3-B2 | 1 | 3 | 3S | 3S-2 | 6 | 2 | 3 | 3S | 3S-2 |  | EQUIPMENT_DETECT | 4
Survey | B | Handheld | P3-B2 | 1 | 3 | 3S | 3S-2 | 7.3 | 1 | 3 | 3S | 3S-2 |  | EQUIPMENT_DETECT | 1.8
Survey | B | Mobile | P3-B2 | 1 | 3 | 3S | 3S-2 | 5 | 2 | 3 | 3S | 3S-2 | 11 | EQUIPMENT_DETECT | 0.9
Survey | B | Mobile | P3-B2 | 1 | 3 | 3S | 3S-2 | 4.1 | 1 | 3 | 3S | 3S-2 | 10.2 | EQUIPMENT_DETECT | 0.23704
Survey | B | Mobile | P3-B2 | 1 | 3 | 3S | 3S-2 | 4.6 | 2 | 3 | 3S | 3S-2 | 14.6 | EQUIPMENT_DETECT | 1.8
Survey | B | Mobile | P3-B2 | 1 | 3 | 3S | 3S-2 | 5.3 | [5 empty] | NON_DETECT
Survey | B | Handheld | P3-B2 | 2 | 3 | 3T | 3T-2 | 7.8 | [5 empty] | NON_DETECT
Survey | B | Handheld | P3-B2 | 2 | 3 | 3T | 3T-2 | 8.5 | [5 empty] | NON_DETECT
Survey | B | Handheld | P3-B2 | 2 | 3 | 3T | 3T-2 | 8.9 | 2 | 3 | 3T | 3T-2 |  | EQUIPMENT_DETECT | 1.6
Survey | B | Mobile | P3-B2 | 2 | 3 | 3T | 3T-2 | 7.8 | [5 empty] | NON_DETECT
Survey | B | Mobile | P3-B2 | 2 | 3 | 3T | 3T-2 | 8.5 | [5 empty] | NON_DETECT
Survey | B | Mobile | P3-B2 | 2 | 3 | 3T | 3T-2 | 8.9 | [5 empty] | NON_DETECT
Survey | B | Handheld | P3-B2 | 2 | 3 | 3T | 3T-2 | 7.8 | [5 empty] | NON_DETECT
Survey | B | Handheld | P3-B2 | 2 | 3 | 3T | 3T-2 | 8.5 | 1 | 3 | 3T | 3T-2 |  | EQUIPMENT_DETECT | 2.8
Survey | B | Handheld | P3-B2 | 2 | 3 | 3T | 3T-2 | 8.9 | [5 empty] | NON_DETECT
Survey | B | Mobile | P3-B2 | 2 | 3 | 3T | 3T-2 | 8 | 1 | 3 | 3T | 3T-2 | 2.6 | EQUIPMENT_DETECT | 0.3
Survey | B | Mobile | P3-B2 | 2 | 3 | 3T | 3T-2 | 6.8 | [5 empty] | NON_DETECT
Survey | B | Mobile | P3-B2 | 2 | 3 | 3T | 3T-2 | 7.8 | 1 | 3 | 3T | 3T-2 | 17.4 | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P3-B2 | 2 | 3 | 3T | 3T-2 | 8.2 | 1 | 3 | 3T | 3T-2 | 28 | EQUIPMENT_DETECT | 0.2
Survey | B | Mobile | P4-B3 | 1 | 4 | 4S | 4S-3 | 6.85 | 1 | 4 | 4S | 4S-3 | 4.4 | EQUIPMENT_DETECT | 3.4
Survey | B | Mobile | P4-B3 | 1 | 4 | 4S | 4S-3 | 6.85 | 1 | 4 | 4S | 4S-3 | 0.1 | EQUIPMENT_DETECT | 230.664
Survey | B | Mobile | P4-B3 | 1 | 4 | 4S | 4S-3 | 6.85 | 2 | 4 | 4S | 4S-3 | 9.8 | EQUIPMENT_DETECT | 0.9
Survey | B | Mobile | P4-B3 | 1 | 4 | 4S | 4S-3 | 3.4 | [5 empty] | NON_DETECT
Survey | B | Mobile | P4-B3 | 2 | 4 | 4T | 4T-1 | 11.95 | 3 | 4 | 4T | 4T-1 | 7.7 | EQUIPMENT_DETECT | 2.4
Survey | B | Mobile | P4-B3 | 2 | 4 | 4T | 4T-1 | 11.95 | [5 empty] | NON_DETECT
Survey | B | Mobile | P4-B3 | 2 | 4 | 4T | 4T-1 | 11.95 | 1 | 4 | 4T | 4T-1 | 14 | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P4-B3 | 2 | 4 | 4T | 4T-1 | 8.5 | 1 | 4 | 4T | 4T-2 | 10 | GROUP_DETECT | 5.6
Survey | B | Mobile | P4-B3 | 3 | 4 | 4W | 4W-0 | 9.86 | 2 | 4 | 4W | 4W-0 | 3.2 | EQUIPMENT_DETECT | 3
Survey | B | Mobile | P4-B3 | 3 | 4 | 4W | 4W-0 | 9.86 | [5 empty] | NON_DETECT
Survey | B | Mobile | P4-B3 | 3 | 4 | 4W | 4W-0 | 9.86 | 3 | 4 | 4W | 4W-0 | 5.4 | EQUIPMENT_DETECT | 1.1
Survey | B | Mobile | P4-B3 | 3 | 4 | 4W | 4W-0 | 10.2 | [5 empty] | NON_DETECT
Survey | B | Handheld | P5-B4 | 1 | 5 | 5S | 5S-1 | 1.3 | [5 empty] | NON_DETECT
Survey | B | Handheld | P5-B4 | 1 | 5 | 5S | 5S-1 | 1.3 | [5 empty] | NON_DETECT
Survey | B | Mobile | P5-B4 | 1 | 5 | 5S | 5S-1 | 1.3 | 1 | 5 | 5S | 5S-1 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P5-B4 | 1 | 5 | 5S | 5S-1 | 1.3 | 1 | 5 | 5S | 5S-1 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Handheld | P5-B4 | 1 | 5 | 5S | 5S-1 | 1.3 | 2 | 5 | 5S | 5S-1 |  | EQUIPMENT_DETECT | 4.2
Survey | B | Handheld | P5-B4 | 1 | 5 | 5S | 5S-1 | 1.3 | 2 | 5 | 5S | 5S-1 |  | EQUIPMENT_DETECT | 2.3
Survey | B | Mobile | P5-B4 | 1 | 5 | 5S | 5S-1 | 3.8 | 2 | 5 | 5S | 5S-2 | 2.2 | GROUP_DETECT | 2.2
Survey | B | Mobile | P5-B4 | 1 | 5 | 5S | 5S-1 | 1 | 2 | 5 | 5S | 5S-1 | 0.4 | EQUIPMENT_DETECT | 0.088337
Survey | B | Mobile | P5-B4 | 1 | 5 | 5S | 5S-1 | 3.9 | 1 | 5 | 5S | 5S-1 | 4.7 | EQUIPMENT_DETECT | 1.6
Survey | B | Mobile | P5-B4 | 1 | 5 | 5S | 5S-1 | 3.9 | [5 empty] | NON_DETECT
Survey | B | Handheld | P5-B4 | 2 | 5 | 5S | 5S-3 | 8.2 | 1 | 5 | 5S | 5S-3 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Handheld | P5-B4 | 2 | 5 | 5S | 5S-3 | 7 | 2 | 5 | 5S | 5S-3 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P5-B4 | 2 | 5 | 5S | 5S-3 | 8.2 | 2 | 5 | 5S | 5S-3 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Mobile | P5-B4 | 2 | 5 | 5S | 5S-3 | 7 | 2 | 5 | 5S | 5S-3 |  | EQUIPMENT_DETECT | 0.1
Survey | B | Handheld | P5-B4 | 2 | 5 | 5S | 5S-3 | 8.2 | 3 | 5 | 5S | 5S-3 |  | EQUIPMENT_DETECT | 3.4
Survey | B | Handheld | P5-B4 | 2 | 5 | 5S | 5S-3 | 7 | 3 | 5 | 5S | 5S-3 |  | EQUIPMENT_DETECT | 2.4
Survey | B | Mobile | P5-B4 | 2 | 5 | 5S | 5S-3 | 6.3 | [5 empty] | NON_DETECT
Survey | B | Mobile | P5-B4 | 2 | 5 | 5S | 5S-3 | 6.4 | [5 empty] | NON_DETECT
Survey | B | Mobile | P5-B4 | 2 | 5 | 5S | 5S-3 | 6.4 | 2 | 5 | 5S | 5S-3 | 6.6 | EQUIPMENT_DETECT | 0.4
Survey | B | Mobile | P5-B4 | 2 | 5 | 5S | 5S-3 | 6.4 | [5 empty] | NON_DETECT
Survey | B | Handheld | P5-B4 | 3 | 5 | 5W | 5W-2 | 8.4 | 2 | 5 | 5W | 5W-2 |  | EQUIPMENT_DETECT | 0.2
Survey | B | Handheld | P5-B4 | 3 | 5 | 5W | 5W-2 | 6 | 1 | 5 | 5W | 5W-2 |  | EQUIPMENT_DETECT | 0.2
Survey | B | Mobile | P5-B4 | 3 | 5 | 5W | 5W-2 | 8.4 | 3 | 5 | 5W | 5W-2 |  | EQUIPMENT_DETECT | 0.2
Survey | B | Mobile | P5-B4 | 3 | 5 | 5W | 5W-2 | 6 | 3 | 5 | 5W | 5W-2 |  | EQUIPMENT_DETECT | 0.2
Survey | B | Handheld | P5-B4 | 3 | 5 | 5W | 5W-2 | 8.4 | 1 | 5 | 5W | 5W-2 |  | EQUIPMENT_DETECT | 5.6
Survey | B | Handheld | P5-B4 | 3 | 5 | 5W | 5W-2 | 6 | 1 | 5 | 5W | 5W-2 |  | EQUIPMENT_DETECT | 2.6
Survey | B | Mobile | P5-B4 | 3 | 5 | 5W | 5W-2 | 5.8 | 1 | 5 | 5W | 5W-2 | 4 | EQUIPMENT_DETECT | 0.6
Survey | B | Mobile | P5-B4 | 3 | 5 | 5W | 5W-2 | 6 | 1 | 5 | 5W | 5W-2 | 0.2 | EQUIPMENT_DETECT | 21.6361
Survey | B | Mobile | P5-B4 | 3 | 5 | 5W | 5W-2 | 5.6 | 3 | 5 | 5W | 5W-2 | 7.5 | EQUIPMENT_DETECT | 5.4
Survey | B | Mobile | P5-B4 | 3 | 5 | 5W | 5W-2 | 5.6 | 1 | 5 | 5W | 5W-1 | 15 | GROUP_DETECT | 4.6
Survey | C | Handheld | P1-C1 | 1 | 1 | 1W | 1W-1 | 5.1 | 2 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.3
Survey | C | Handheld | P1-C1 | 1 | 1 | 1W | 1W-1 | 4.3 | 2 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.3
Survey | C | Mobile | P1-C1 | 1 | 1 | 1W | 1W-1 | 5.1 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.3
Survey | C | Mobile | P1-C1 | 1 | 1 | 1W | 1W-1 | 4.3 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.3
Survey | C | Handheld | P1-C1 | 1 | 1 | 1W | 1W-1 | 5.1 | 1 | 1 | 1W | 1W-1 |  | MULTI_DETECT | 0.6
Survey | C | Handheld | P1-C1 | 1 | 1 | 1W | 1W-1 | 4.3 | 1 | 1 | 1W | 1W-1 |  | MULTI_DETECT | 1
Survey | C | Mobile | P1-C1 | 1 | 1 | 1T | 1T-1 | 0.3 | [5 empty] | GROUP_DETECT
Survey | C | Mobile | P1-C1 | 1 | 1 | 1T | 1T-1 | 0.3 | 2 | 1 | 1T | 1T-1 | 1.7 | EQUIPMENT_DETECT | 0.42112
Survey | C | Mobile | P1-C1 | 1 | 1 | 1T | 1T-1 | 0.3 | [5 empty] | GROUP_DETECT
Survey | C | Mobile | P1-C1 | 1 | 1 | 1W | 1W-1 | 2.4 | 1 | 1 | 1W | 1W-1 | 9 | MULTI_DETECT | 0.5
Survey | C | Handheld | P1-C1 | 2 | 1 | 1W | 1W-1 | 7.8 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.3
Survey | C | Handheld | P1-C1 | 2 | 1 | 1W | 1W-1 | 6.5 | 1 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0.3
Survey | C | Mobile | P1-C1 | 2 | 1 | 1W | 1W-1 | 7.8 | 2 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0
Survey | C | Mobile | P1-C1 | 2 | 1 | 1W | 1W-1 | 6.5 | 2 | 1 | 1W | 1W-1 |  | EQUIPMENT_DETECT | 0
Survey | C | Handheld | P1-C1 | 2 | 1 | 1W | 1W-1 | 7.8 | 1 | 1 | 1W | 1W-1 |  | MULTI_DETECT | 1
Survey | C | Handheld | P1-C1 | 2 | 1 | 1W | 1W-1 | 6.5 | 1 | 1 | 1W | 1W-1 |  | MULTI_DETECT | 1.5
Survey | C | Mobile | P1-C1 | 2 | 1 | 1W | 1W-1 | 5.2 | 1 | 1 | 1W | 1W-1 | 12.9 | MULTI_DETECT | 0
Survey | C | Mobile | P1-C1 | 2 | 1 | 1W | 1W-1 | 3 | 1 | 1 | 1W | 1W-1 | 0.6 | MULTI_DETECT | 0.38954
Survey | C | Mobile | P1-C1 | 2 | 1 | 1W | 1W-1 | 4.4 | 1 | 1 | 1W | 1W-1 | 16.3 | MULTI_DETECT | 0.5
Survey | C | Mobile | P1-C1 | 2 | 1 | 1W | 1W-1 | 4.7 | 1 | 1 | 1W | 1W-1 | 9 | MULTI_DETECT | 0
Survey | C | Mobile | P1-C1 | 3 | 1 | 1W | 1W-1 | 7.7 | 1 | 1 | 1W | 1W-1 | 12.9 | MULTI_DETECT | 0.5
Survey | C | Mobile | P1-C1 | 3 | 1 | 1W | 1W-1 | 5.2 | 1 | 1 | 1W | 1W-1 | 0.6 | MULTI_DETECT | 0.79983
Survey | C | Mobile | P1-C1 | 3 | 1 | 1W | 1W-1 | 6.7 | 1 | 1 | 1W | 1W-1 | 16.3 | MULTI_DETECT | 0.2
Survey | C | Handheld | P3-C2 | 1 | 3 | 3S | 3S-1 | 3.8 | 1 | 3 | 3S | 3S-1 |  | EQUIPMENT_DETECT | 0.5
Survey | C | Handheld | P3-C2 | 1 | 3 | 3S | 3S-1 | 2.5 | 1 | 3 | 3S | 3S-1 |  | EQUIPMENT_DETECT | 0.5
Survey | C | Mobile | P3-C2 | 1 | 3 | 3S | 3S-1 | 3.8 | 1 | 3 | 3S | 3S-1 |  | EQUIPMENT_DETECT | 0.3
Survey | C | Mobile | P3-C2 | 1 | 3 | 3S | 3S-1 | 2.5 | 1 | 3 | 3S | 3S-1 |  | EQUIPMENT_DETECT | 0.3
Survey | C | Handheld | P3-C2 | 1 | 3 | 3S | 3S-1 | 3.8 | 1 | 3 | 3S | 3S-1 |  | EQUIPMENT_DETECT | 4.4
Survey | C | Handheld | P3-C2 | 1 | 3 | 3S | 3S-1 | 2.5 | 1 | 3 | 3S | 3S-1 |  | EQUIPMENT_DETECT | 4.7
Survey | C | Mobile | P3-C2 | 1 | 3 | 3S | 3S-1 | 3.5 | 1 | 3 | 3S | 3S-1 | 3.7 | EQUIPMENT_DETECT | 0.9
Survey | C | Mobile | P3-C2 | 1 | 3 | 3S | 3S-1 | 2.3 | 1 | 3 | 3S | 3S-1 | 1.2 | EQUIPMENT_DETECT | 0.60363
Survey | C | Mobile | P3-C2 | 1 | 3 | 3S | 3S-1 | 2.4 | [5 empty] | NON_DETECT
Survey | C | Mobile | P3-C2 | 1 | 3 | 3S | 3S-1 | 3.7 | 1 | 3 | 3S | 3S-1 | 7 | EQUIPMENT_DETECT | 2
Survey | C | Mobile | P3-C2 | 2 | 3 | 3S | 3S-1 | 0.5 | [5 empty] | NON_DETECT
Survey | C | Mobile | P3-C2 | 2 | 3 | 3S | 3S-1 | 0.4 | 2 | 3 | 3S | 3S-1 | 3.7 | EQUIPMENT_DETECT | 0.20749
Survey | C | Mobile | P3-C2 | 2 | 3 | 3S | 3S-1 | 0.4 | 1 | 3 | 3S | 3S-1 | 10.5 | EQUIPMENT_DETECT | 1.2
Survey | C | Mobile | P3-C2 | 3 | 3 | 3W | 3W-1 | 0.3 | [5 empty] | NON_DETECT
Survey | C | Mobile | P3-C2 | 3 | 3 | 3W | 3W-1 | 0.3 | 3 | 3 | 3W | 3W-1 | 2.2 | EQUIPMENT_DETECT | 0.17844
Survey | C | Mobile | P3-C2 | 3 | 3 | 3W | 3W-1 | 0.3 | 2 | 3 | 3W | 3W-1 | 1.8 | EQUIPMENT_DETECT | 0.5
Survey | C | Handheld | P3-C2 | [5 empty] | 2 | 3 | 3S | 3S-1 |  | FALSE_POSITIVE
Survey | C | Handheld | P3-C2 | [5 empty] | 3 | 3 | 3W | 3W-1 |  | FALSE_POSITIVE
Survey | C | Handheld | P3-C2 | [5 empty] | 2 | 3 | 3W | 3W-1 |  | FALSE_POSITIVE
Survey | C | Handheld | P3-C2 | [5 empty] | 2 | 3 | 3W | 3W-3 |  | FALSE_POSITIVE
Survey | C | Handheld | P3-C2 | [5 empty] | 2 | 3 | 3W | 3W-1 |  | FALSE_POSITIVE
Survey | C | Handheld | P4-C3 | 1 | 4 | 4S | 4S-3 | 1.9 | 1 | 4 | 4S | 4S-3 |  | EQUIPMENT_DETECT | 0
Survey | C | Handheld | P4-C3 | 1 | 4 | 4S | 4S-3 | 3.9 | 2 | 4 | 4S | 4S-3 |  | EQUIPMENT_DETECT | 0
Survey | C | Mobile | P4-C3 | 1 | 4 | 4S | 4S-3 | 1.9 | 1 | 4 | 4S | 4S-3 |  | EQUIPMENT_DETECT | 0
Survey | C | Mobile | P4-C3 | 1 | 4 | 4S | 4S-3 | 3.9 | 1 | 4 | 4S | 4S-3 |  | EQUIPMENT_DETECT | 0
Survey | C | Handheld | P4-C3 | 1 | 4 | 4S | 4S-3 | 1.9 | 1 | 4 | 4S | 4S-3 |  | EQUIPMENT_DETECT | 1.4
Survey | C | Handheld | P4-C3 | 1 | 4 | 4S | 4S-3 | 3.9 | 2 | 4 | 4S | 4S-3 |  | EQUIPMENT_DETECT | 1.7
Survey | C | Mobile | P4-C3 | 1 | 4 | 4S | 4S-3 | 8.7 | 1 | 4 | 4S | 4S-3 | 5.2 | EQUIPMENT_DETECT | 0.7
Survey | C | Mobile | P4-C3 | 1 | 4 | 4S | 4S-3 | 8.2 | 3 | 4 | 4S | 4S-3 | 11.9 | EQUIPMENT_DETECT | 0.20502
Survey | C | Mobile | P4-C3 | 1 | 4 | 4S | 4S-3 | 7.9 | 2 | 4 | 4S | 4S-3 | 12.1 | EQUIPMENT_DETECT | 0
Survey | C | Mobile | P4-C3 | 1 | 4 | 4S | 4S-3 | 2.4 | 1 | 4 | 4S | 4S-4 | 4 | GROUP_DETECT | 0.7
Survey | C | Handheld | P4-C3 | 2 | 4 | 4W | 4W-3 | 6 | [5 empty] | NON_DETECT
Survey | C | Handheld | P4-C3 | 2 | 4 | 4W | 4W-3 | 5.3 | 1 | 4 | 4W | 4W-3 |  | EQUIPMENT_DETECT | 0.2
Survey | C | Mobile | P4-C3 | 2 | 4 | 4W | 4W-3 | 6 | 2 | 4 | 4W | 4W-3 |  | EQUIPMENT_DETECT | 0.1
Survey | C | Mobile | P4-C3 | 2 | 4 | 4W | 4W-3 | 5.3 | 2 | 4 | 4W | 4W-3 |  | EQUIPMENT_DETECT | 0.2
Survey | C | Handheld | P4-C3 | 2 | 4 | 4W | 4W-3 | 6 | 2 | 4 | 4W | 4W-3 |  | EQUIPMENT_DETECT | 4.3
Survey | C | Handheld | P4-C3 | 2 | 4 | 4W | 4W-3 | 5.3 | 1 | 4 | 4W | 4W-3 |  | EQUIPMENT_DETECT | 1.8
Survey | C | Mobile | P4-C3 | 2 | 4 | 4S | 4S-4 | 0.3 | [5 empty] | NON_DETECT
Survey | C | Mobile | P4-C3 | 2 | 4 | 4S | 4S-4 | 0.2 | [5 empty] | NON_DETECT
Survey | C | Mobile | P4-C3 | 2 | 4 | 4S | 4S-4 | 0.2 | [5 empty] | NON_DETECT
Survey | C | Mobile | P4-C3 | 2 | 4 | 4W | 4W-3 | 5.3 | [5 empty] | NON_DETECT
Survey | C | Mobile | P4-C3 | 3 | 4 | 4W | 4W-3 | 4.7 | 2 | 4 | 4W | 4W-3 | 2.8 | EQUIPMENT_DETECT | 0.6
Survey | C | Mobile | P4-C3 | 3 | 4 | 4W | 4W-3 | 4.7 | 1 | 4 | 4W | 4W-3 | 1.2 | EQUIPMENT_DETECT | 0.35696
Survey | C | Mobile | P4-C3 | 3 | 4 | 4W | 4W-3 | 4.6 | 1 | 4 | 4W | 4W-3 | 4.2 | EQUIPMENT_DETECT | 0.2
Survey | C | Mobile | P4-C3 | 4 | 4 | 4W | 4W-4 | 0.2 | [5 empty] | NON_DETECT
Survey | C | Mobile | P4-C3 | 4 | 4 | 4W | 4W-4 | 0.2 | 2 | 4 | 4W | 4W-5 | 3.7 | GROUP_DETECT | 3.6146
Survey | C | Mobile | P4-C3 | 4 | 4 | 4W | 4W-4 | 0.1 | [5 empty] | NON_DETECT